ENGINEERING AND ENVIRONMENTAL SERVICES

Stormwater Division

120 East Parrish Street, 1st Floor, Durham, NC 27701

Telephone (919) 560-0739 Fax (919) 560-0740

DRY POND DESIGN SUMMARY

Stormwater Management Construction Plan Review:

A complete Stormwater management construction plan submittal includes a design summary for each Stormwater BMP, design calculations, plans and specifications showing BMP, inlet and outlet structure details.

- PROJECT INFORMATION

For projects with multiple SCMs, specify which SCM this worksheet applies to:

Project Name: ___________________________________	Phase: _______________________

PIN: ___________________________________________	Case #: _______________________

Legal Name of Owner: ___________________________________________________________

Owner Contact: _________________________________	Phone: _______________________

Owner Address: ________________________________________________________________

Design Contact Person: ___________________________	Phone: _______________________

Detention provided for:  ____ 1-year     _____ 2-year     _____ 10-year     _____other_________

Dam Height: ________ (feet)     Dam Classification: ______

- GENERAL MINIMUM DESIGN CRITERIA FOR ALL SCMs

GENERAL MDC 1: SIZING

| Design storm depth |  | ft |
| --- | --- | --- |
| Design runoff volume |  | ft3 |

(One year, 24 hour storm event)

(Minimum calculation of entire drainage area)
GENERAL MDC 2: CONTAMINATED SOILS

| Contaminated soils within footprint? | Y / N |
| --- | --- |

(Brownfield location?)

GENERAL MDC 3: SIDE SLOPES

| Maximum vegetated side slopes | : 1 |
| --- | --- |

(Maximum 3:1 vegetated slopes)

GENERAL MDC 4: EROSION PROTECTION

| 10 year storm outlet discharge | cfs |
| --- | --- |

(Must be non-erosive)

GENERAL MDC 5: EXCESS FLOW

| Emergency outlet elevation |  | ft |
| --- | --- | --- |
| Emergency spillway width |  | ft |
| Emergency spillway side slopes |  | : 1 |
| Emergency spillway slope |  | % |

GENERAL MDC 6: DEWATERING

| Dewatering method |  |  |
| --- | --- | --- |
| Drawdown orifice size |  | in |

(If applicable)

GENERAL MDC 7: MAINTENANCE ACCESS

| Maintenance access width |  | ft |
| --- | --- | --- |
| Side slopes within maintenance access |  | : 1 |
| Access extend to public right of way |  | Y / N |

(Minimum width of 10 feet)

(Maximum 3:1)

- DRY POND MINIMUM DESIGN CRITERIA

DRY POND MDC 1: SEPARATION FROM THE SHWT

| SHWT elevation |  | ft |
| --- | --- | --- |
| Bottom elevation of pond |  | ft |

(Determined through soil tests)

(Minimum 6 inches above SHWT)

DRY POND MDC 2: TEMPORARY POOL DEPTH

| Depth of temporary pool | ft |
| --- | --- |

(Maximum depth of 10 feet)

DRY POND MDC 3: UNIFORM GRADING AND POSITIVE DRAINAGE

| Uniform grade towards outlet? | Y / N |
| --- | --- |

DRY POND MDC 4: LOCATION OF INLET(S) AND OUTLET

| Distance between inlet and outlet |  | ft |
| --- | --- | --- |
| Length to width ratio |  | : 1 |

(Avoid short circuiting)

DRY POND MDC 5: PRETREATMENT

| Type of pretreatment |  |
| --- | --- |

(Gravel verges, filter strips, grassed swales or forebays)

DRY POND MDC 6: DRAWDOWN TIME

| Drawdown time | days |
| --- | --- |

(2-5 day drawdown to permanent pool level)

DRY POND MDC 7: PROTECTION OF THE RECEIVING STREAM

| One-year, 24 hour runoff rate | cfs |
| --- | --- |

(Must be non-erosive)

DRY POND MDC 7: OUTLET

| Permanent pool at outlet? | Y / N |
| --- | --- |

- DRY POND DESIGN CHARACTERISTICS

Pond bottom elevation			__________ ft

1-year storm orifice/weir elevation		__________ ft

1-year storm water surface elevation	__________ ft

2-year storm orifice/weir elevation		__________ ft

2-year storm water surface elevation	__________ ft

10-year storm orifice/weir elevation		__________ ft

10-year storm water surface elevation	__________ ft

Emergency spillway elevation			__________ ft

Top of embankment/dam			__________ ft

Maximum water surface elevation		__________ ft

At BMP

1- Year	               2-year                  10-year	      _____-year

Inflow                            	      _______ cfs         _______ cfs         _______ cfs       _______ cfs

Routed Outflow	      _______ cfs         _______ cfs         _______ cfs       _______ cfs

At Analysis Point(s) that BMP contributes to

1- Year	               2-year                  10-year	      _____-year

Pre-development                              _______ cfs         _______ cfs         _______ cfs       _______ cfs

Post-development w/o detention _______ cfs         _______ cfs         _______ cfs       _______ cfs

With Detention        	       _______ cfs         _______ cfs         _______ cfs       _______ cfs

- REQUIRED ITEMS CHECKLIST

The following checklist outlines design requirements. Initial in the space provided to indicate the following design requirements have been met and supporting documentation is attached.

Applicant’s Initials

__________ a. Riprap outlet protection, if provided, reduces flow to non-erosive velocities (provide calculations).

__________ b. The basin side slopes are no steeper than 3:1.

__________ c. Vegetative cover for the basin is specified. No woody vegetation is permitted on the embankment.

__________ d. A trash rack or similar device is provided for both the overflow and orifice. Flat top trash racks are not acceptable. Access hatch has been provided.

__________ e. A recorded drainage easement is provided for each basin including access to the nearest right-of-way and is graded per NCDEQ Stormwater BMP Manual, Part C-0.

__________ f. If the basin is used for sediment and erosion control during construction, a note requiring clean out and vegetative cover being established prior to use as a dry detention basin shall be provided on the construction plan.

__________ g. Anti-floatation calculations are provided for the riser structure.

__________ h. A plan view of the pond with grading shown is provided.

__________ i. A profile through the forebay, main pond and spillway is provided. Water surface elevations are shown on the profile.

__________ j. Riser structure details are provided.

__________ k. Compaction specifications for the embankment are provided on the plan.

__________ l. Dam designed to account for a 5.00% settlement factor.

__________ m. The minimum top of dam width has been provided for the pond embankment top width per NCDEQ Stormwater BMP Manual, Part C-0.

NOTE: Executed Stormwater Facility Operations and Maintenance Permit Agreement and payment of surety are required prior to Stormwater Permit issuance.